## Sheet1
Annexure-I Bill of Materials
SL | Description | UoM | Qty | Rate | Amount | Package-I
1 | 1.1KV, Unarmoured, inner sheathed, 2x50sqmm aluminium ABC cables, without messenger wire, XLPE insulation, nominal thickness of 1.4mm, Nos of strand 6, minimum inner shealth thickness 0.30mm, nominal outer sheath thickness 2.0mm The cable should be based on Bhutan Power Corporation (BPC) Standard with product test report (Should have UV test result as well). Each drum should consist of 500m each. | Meter | 14000 |  |  | Package-I
2 | UG Cable, 35 sq mm, Armored, Aluminium Core, The cable should be based on Bhutan Power Corporation (BPC) Standard with product test report (Should have UV test result as well). Each drum should consist of 500m each. | Meter | 6000
Total for Package-I | [5 empty] | Package-II
1 | I-Hook (m16). I-Hook/Hook bolt for pole, Made of galvanized steel designed for main and service clamp.Fixed length by welded, flat or bended washers. Brand Preferable : BPC standards | Nos | 442
2 | Suspension clamp (SPC) for ABC bundle conductor line. Clamp for hanging ABC cable. Cable size 2x (50-150)sq mm Brand Preferable : BPC Standards | Nos | 280
3 | Dead End Clamp/Low voltage tension clamp. Tension Clamp for termination of 2 overhead cables. Designed to anchor self supporting LV ABC lines from 2 cores of airdac cable. Cable size=2*(25-50)sq.mm. The item should have the pull out tension of not less than 16KN Brand Preferable : BPC Standards | Nos | 154
4 | 7.5m GI Steel Tubular Pole with three 18mm dia holes. Should be Galvanized. | Nos | 280
5 | Stay Set Stay Set to support electric Pole, Galvanized (Should include Anchor Plate, Anchor Rod, Turn Buckle Bow, Eye Bolt Rod, Stay Set Pole Clamp) Brand Preferable : BPC Standards | Nos | 162
6 | Stay Wire, 16mm for LT, Galvanized, ISO9001 Brand Preferable : BPC Standards | Meter | 1620
7 | Energy Meter Enclosure, Outdoor type with steel din rail for mounting of Hansel Brand. Model=KG9003 (Transparent) | Nos | 120
Total for Package-II
1 | Two-Way Tension Set for ADDS Fiber Cable, Cable Dia 14mm, Pole Clamp, 80-100 mm dai | Nos | 529 |  |  | Package-III
2 | Tension Clamp/Helix for 14mm dia fiber cable | Nos | 134
3 | Down Lead Clamp for 14 mm dia fiber cable without steel band hoop | Nos | 462
4 | Two-Way Tension accessories for ADDS fiber cable (cable dia: 14mm, Bow Shackles(U7), Extension link (ZH-7), Clevis Thimble (TC-04) | Nos | 938
Total for Package-III